## Slide 1: MECHANCIAL MEASUREMENTS AND METROLOGY(BTME-3503)
education for life www.rimt.ac.in
Department of Mechanical Engineering
Prepared by: Dr. Sachin Saini
Course Name: MMM Semester: 5th

## Slide 2: Errors in measurements
education for life www.rimt.ac.in
Department of Mechanical Engineering

## Slide 3: Errors in measurements
education for life www.rimt.ac.in
Department of Mechanical Engineering

## Slide 4: Metrology
education for life www.rimt.ac.in
Department of Mechanical Engineering

## Slide 5: Metrology
education for life www.rimt.ac.in
Department of Mechanical Engineering

## Slide 6: Metrology
education for life www.rimt.ac.in
Department of Mechanical Engineering

## Slide 7: Metrology
education for life www.rimt.ac.in
Department of Mechanical Engineering

## Slide 8: Residual Error
education for life www.rimt.ac.in
Department of Mechanical Engineering

## Slide 9: Arithmetic mean
education for life www.rimt.ac.in
Department of Mechanical Engineering
The most probable value of measured variable is the arithmetic mean of the number of readings taken.
It is given by
Where x = arithmetic mean
x1,x2,.. x3= readings of samples
n= number of readings
Deviation is departure of the observed reading from the arithmetic mean of the group of readings

## Slide 10: Standard Deviation
education for life www.rimt.ac.in
Department of Mechanical Engineering
The standard deviation of an infinite number of data is defined as the square root of the sum of the individual deviations squared divided by the number of readings.

## Slide 11: Variance
education for life www.rimt.ac.in
Department of Mechanical Engineering

## Slide 12: Numerical Problem
education for life www.rimt.ac.in
Department of Mechanical Engineering
Question: The following 10 observation were recorded when measuring a voltage:
41.7,42.0,41.8,42.0,42.1,
41.9,42.0,41.9,42.5,41.8 volts.
Mean
Standard Deviation
Probable Error
Range.

## Slide 13: Calibration
education for life www.rimt.ac.in
Department of Mechanical Engineering
Calibration of all instruments is important since it affords the opportunity to check the instruments against a known standard and subsequently to find errors and accuracy.
Calibration Procedure involve a comparison of the particular instrument with either
a Primary standard
a secondary standard with a higher accuracy than the instrument to be calibrated.
an instrument of known accuracy.

## Slide 14: Summary
In this topic, main attention was given on the errors and their types in the field of measurements. Overall from the topic, it can concluded that how important is the rectification of the errors in the measurements.
education for life www.rimt.ac.in
Department of Mechanical Engineering

## Slide 15: Topics to be Discussed in Next Lecture
Metrology
education for life www.rimt.ac.in
Department of Mechanical Engineering